Regular City Council Meeting

City Of Shinnston, West Virginia

October 11, 2022 
City Council Chambers
7:00 PM
Mayor Strait led the Pledge of Allegiance. Councilperson Bill Watson gave the Invocation.
The Regular Meeting of the Shinnston City Council was called to order at 7:01 P.M. in City Council Chambers on Tuesday, October 11 by Mayor Rodney Strait. Mayor Rodney Strait, Vice-Mayor Mary Ann Ferris (via phone), Councilpersons Amanda Sayers, Julia Currey, Patrick Kovalck, and Bill Watson were present. Councilperson Max Palmer was absent. Also present were City Manager Chad Edwards and City Clerk Kathleen Panek.

It was ascertained that a quorum was present.

Petition of Citizens: There were no Petitions.
Councilperson Watson moved to accept the Minutes of September 12, 2022; September 26, 2022 as presented. Councilperson Kovalck seconded. Motion passed by unanimous vote.
Executive Reports:

Mayor Report: Mayor Strait reported: Chad Edwards and I attended a meeting at Fairmont State University that was attended by Governor Jim Justice. The Governor held a discussion on Amendment II and discussed his plan of revoking the personal property tax on cars.

He will call a special session if Amendment II is defeated for this purpose. 

Julia Curley and I met with a representative at the city park to discuss pickle ball courts.

Jay Harmer and I met and looked for placement of new fire hydrants around Shinnston Fire Dept's first due area.

Met with Chris Jaggie public works director who has ordered parts to repair three existing fire hydrants. Ones needing repair are on Station Street and Pike street. One on Saltwell Road and the last one is at the old WesBanco drive -thru location on art 19 .

Chris is also checking on the price of new fire hydrants and we will be looking for a contractor to install them.

Attend a Park Board meeting to discuss Trick-or-Treat celebration at the park and also had a discussion about pickle ball courts. The city is looking in to the cost of the pickle ball courts and is all involved in setting up the courts. 

Talked to one the contractor bidding on the new sidewalks in the city. The sidewalks that are going to replaced are from Walnut Street to the old Murphy Building and from Walnut Street to Bridge Street on the Bank side of Route 19.


Councilperson Currey reported on the training by the State Auditor’s Office at the Best Western.

Councilperson Kovalck reported he is working on the Short Term Rental Ordinance.

City Manager Report:

WATER

SEPTEMBER: 

	SHINNSTON WATER PLANT
	 
	 
	 
	 

	 
	22-Jul
	22-Aug
	22-Sep
	 

	TREATED WATER (GALLONS) 
	   
	   
	40,229,000.00
	GALLONS

	CHEMICALS USED (DEL-PAC)
	   
	   
	8515.50
	POUNDS

	CHEMICALS USED (HFSA)
	   
	   
	3343.50
	POUNDS

	CAUSTIC SODA
	   
	   
	4501.30
	POUNDS

	FILTER BACKWASH
	
	
	469920.00
	GALLONS

	HIGHEST TURBIDITY
	   
	   
	0.07
	NTU

	LOWEST TURBITY 
	   
	   
	0.03
	NTU

	FLUORIDATION
	   
	   
	3343.50
	GALLONS

	average pH raw
	   
	
	7.24
	S.U.

	average pH settled
	   
	
	7.00
	

	average pH finished 
	   
	
	7.94
	

	 
	   
	
	
	

	 
	   
	
	
	

	 
	   
	
	
	

	WATER PLANT SEPTEMBER:
	   
	
	
	

	 
	   
	
	
	

	We finished cleaning out the 
	   
	
	
	

	basins. 
	   
	
	
	


SEWER 

WASTEWATER REPORT 
 


Sep-22





    





Totals

RAIN
 



5.80
 INCHES 
   
   
   

TOTAL FLOW
 


14,362,800.00
 GALLONS 
   
   
   

AVERAGE FLOW
 

478,800.00
 GALLONS PER DAY (GDP) 
   
   
   

HIGHEST DAILY FLOW
 

1,213,700.00
 GALLONS ON 09/05/22 
   
   
   

LOWEST DAILY FLOW
 

200,600.00
 GALLONS ON 09/29/22 
   
   
   

TOTAL RAS 
 

             1,342,227.00
 GALLONS 
   
   
   

AVERAGE RAS 
 

             44,700.00
 GPD 
   
   
   

SLUDGE WASTED TO DIGESTER
 

6,594.00
 GALLONS 
   
   
   

WATER DECANTED FROM DIGESTER
 

23,487.00
 GALLONS 
   
   
   

SLUDGE THROUGH THE BELT PRESS
 

37,579.00
 GALLONS 
   
   
   

SLUDGE HAULED TO LANDFILL 1.32
 DRY TONS 
   
   
   

SEPTEMBER REPORT:
 


   
   
   
   

Plant is running efficiently 
 


   
   
   
   

No major leaks 
 


   
   
   
   

PUBLIC WORKS

	WATER
	DATE
	LOCATION
	WORK DONE
	 

	leak
	9/1/2022
	115 High street
	3/4 service line leak
	 

	leak
	9/1/2022
	146 Main Street
	3/4 service line leak
	 

	meter
	9/2/2022
	Cook Brothers new const.
	hooked meter up for use 
	 

	leak
	9/6/2022
	3717 Hood Avenue
	installed new 3/4 service line under rt 19 to main
	 

	leak
	9/7/2022
	Osbourne Lane Enterprise
	6 inch main line leak, Mon Power 
	 

	leak
	9/7/2022
	158 Main Street, Enterprise
	3/4 service line leak
	 

	tap
	9/8/2022
	Morris Avenue, Cook Bro.
	installed two 2 inch water taps 
	 

	leak
	9/8/2022
	2247 Landing Way
	3/4 service line leak
	 

	leak
	9/19/2022
	410 hill view terrace
	3/4 service line leak
	 

	leak
	9/20/2022
	152 High Street Enterprise
	3/4 service line leak
	

	taps
	9/21/2022
	Cook Brothers new const.
	2- 3/4 water taps for new town houses
	

	leak
	9/23/2022
	260 Bingamon road
	3/4 service line leak
	

	meter
	9/20-23/2022
	Bingamon master meter
	changed 2- 4 inch valves, broke when changed meter

	meter
	9/27/2022
	Amalet master meter
	changed 1 1/2 meter 
	

	meter
	9/28/2022
	Cabbage Patch master meter
	changed and fixed leak on 1 1/2 worthington meter

	leak
	9/29/2022
	29 Waterside drive
	3/4 service line leak
	

	hydrant
	9/29/2022
	rt 19 beside huntington bank
	straightened hydrant from accident
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	SEWER
	DATE
	LOCATION
	WORK DONE
	

	tap
	9/19/2022
	rivedale estate
	4 inch sewer tap
	

	 
	   
	
	
	


OFFICE AND ADMINISTRATION

1) Most AMR meters are installed. The ones that are not have been on order since last summer. It is a 

ECONOMIC DEVELOPMENT- PARKS AND REC 

1) Last Wind Down Wednesday was September 7th. There was some discussion about perhaps doing it next year in August.

Mayor Strait explained what a Land Reuse Agency does and how it would benefit Shinnston. There was discussion about it. Councilperson Ferris moved to Table until November. Councilperson Kovalck seconded. Motion passed by unanimous vote.

Councilperson Kovalck moved to read the Resolution by Title Only. Councilperson Watson seconded. Motion passed by unanimous vote. 
 
Mayor Strait read: RESOLUTION IN OPPOSITION TO STATE CONSTITUTIONAL AMENDMENT 2: PROPERTY TAX MODERNAZATION AMENDMENT
Councilperson Kovalck moved to accept the Resolution. Councilperson Watson seconded. Motion passed by unanimous vote. 
 
After discussion on the proposed Pickleball Court project, Councilperson Kovalck moved to move forward on the Poickleball Courts. Councilperson Currey seconded. Motion passed by unanimous vote.

Vice-Mayor Ferris moved to move forward on the Dog Park. Councilperson Kovalck seconded. Motion passed by unanimous vote.

Councilperson Watson moved to adjourn. Vice-Mayor Ferris seconded. Motion passed by unanimous vote.
Meeting adjourned at 7:44 P.M.
[image: image1.jpg]fitlloee (. linek




Kathleen Panek, City Clerk

Date Accepted by Council: 11-14-2022
_________________________________________

Rodney Strait, Mayor

